## Site Flat File V1
Real Property Unique Indentifier | Site Primary Indicator | Unit of Measure | Site Name | System Manufacturer | System Name | System Type | Vendor | Device Location | Device EOL | Device Name | Device Type | Device Model
00059 | Yes | kWh | HSV | Schweitzer Engineering Laboratories | AMS-Advanced Metering Systems | Revenue Metering System | Schweitzer Engineering Laboratories | 00059SEL735 | 2040-08-05 | Revenue Meter | Power Quality Meter | SEL-735
00060 | No | V DC , V AC | MEM | Siemens | BAS - Building Automation Systems | OT- Automation and Control System | Siemens | 00060S71500 | 2025-12-01 | SIMATIC S7-1500 and ET 200MP systems | Automation System | S7-1500/ET 200MP
00078 | Yes | bps, Mbps, Gbps | ISP | Rockwell Automation | Industrial Ethernet Switches | ICS - Industrial Control Ethernet Network | Rockwell Automation | 00078SAB5400 | 2024-06-01 | Stratix 5400 Switche | Industrial Control Ethernet Switch | Stratix 5400
00079 | No | KW, V | MRI | Hitachi | REFG-Refrigeration | AC Variable Frequency Drives | Hitachi | 00079HITWJ200 | 1930-07-12 | AC Variable Frequency Drive | AC 1/4hp, 200V, 3 Phase | WJ200-002LF
00047 | No | V DC , V AC | HNL | Schweitzer Engineering Laboratories | EUDS - Energy/Utility Distribution Systems | Real-Time Automation Controller | Schweitzer Engineering Laboratories | 00047SEL2240 | 1940-11-15 | Real-Time Automation Controller | Remote Terminal Unit | SEL-2240
00057 | Yes | A, V DC | MSY | Rockwell Automation | Safety Control Relay System | Safety Relay System | Rockwell Automation | 00057SCR700SP | 2024-08-01 | Safety Control Relay | Safety Relay | 700S-P Relay
00088 | Yes | 1pps, IRIG-B TTL, NTP | ABI | Masibus | Industrial Control GPS Maser Clock | GPS Master Clock | Masibus | 00088GPSMC-i | 1935-09-15 | GPS Master Clock | GPS Clock | MC-1 (GPS)
00085 | Yes | NA | CSI | ABB | Paint Robots | Paint Robot Arm | ABB | 00085IRB5350 | 2027-01-12 | Robot Arms | Robot | IRB 5350
00077 | No | bps, Mbps, Gbps | DIA | Cisco | Cisco Wireless Industrial Network | Wireless Network | Cisco | 00077IW9165E | 2025-05-03 | Cisco Catalyst Access Points | Cisco Wireless Access Point | Catalyst IW9165E
00079 | [6 empty] | Mitsubishi Electric |  |  | MELSEC-F Series
00072 | 00059 | [5 empty] | Hitachi Energy |  |  | FOXMAN-UN, UNEM Products
00023 | 00060 | [5 empty] | Advantech |  |  | R-SeeNet
00071 | 00078 | [5 empty] | SpiderControl |  |  | SCADA WebServer
00099 | 00079 | [5 empty] | Enphase |  |  | Envoy
00026 | 00047 | [5 empty] | Enphase |  |  | Enphase Installer Toolkit
00087 | 00057 | [5 empty] | SUBNET Solutions Inc. |  |  | PowerSYSTEM Center
00044 | 00088 | [5 empty] | Advantech |  |  | WebAccess/SCADA
00072 | 00085 | [5 empty] | Siemens |  |  | POWER METER SICAM Q200 family
00055 | 00077 | [5 empty] | Siemens |  |  | SIMOTION
00033 | 00072 | [5 empty] | Siemens |  |  | SIMATIC Products
00034 | 00023 | [5 empty] | Siemens |  |  | Totally Integrated Automation (TIA) Portal
00053 | 00071 | [5 empty] | Siemens |  |  | SIMATIC WinCC V7
00072 | 00099 | [5 empty] | Siemens |  |  | SIMATIC PCS 7, SIMATIC S7-PM, SIMATIC STEP 7 V5
00067 | 00026 | [5 empty] | Siemens |  |  | Solid Edge
00075 | 00087 | [5 empty] | Siemens |  |  | SIMATIC S7-1500 TM MFP
00059 | 00044 | [5 empty] | Siemens |  |  | SIMATIC S7-1500 TM MFP
00066 | 00055 | [5 empty] | Siemens |  |  | SINAMICS MV (medium voltage) products
000100 | 00033 | [5 empty] | Siemens |  |  | SICAM A8000 Devices
00091 | 00034 | [5 empty] | Siemens |  |  | JT2Go, Teamcenter Visualization
00026 | 00053 | [5 empty] | Datalogics |  |  | Library APDFL v18.0.4PlusP1e
00038 | 00067
00092 | 00075
00059 | 00066
00049 | 000100
00030 | 00091
00042 | 00038
00039 | 00092
00043 | 00049
00047 | 00030
00059 | 00042
00060 | 00039
00093 | 00043
00099 | 00093
00046 | 00046
00024 | 00024
00098 | 00098
00060 | 00051
00051 | 00040
00040 | 00089
00089 | 00037
00078 | 00028
00049 | 00031
00037 | 00027
00028 | 00073
00072 | 00095
00092 | 00050
00031 | 00058
00089 | 00081
00055 | 00090
00066 | 00076
00098 | 00054
00027 | 00022
00073 | 00065
00095 | 00063
00050 | 00052
00058 | 00084
00053 | 00025
00081 | 00035
00090 | 00021
00076 | 00086
00054 | 00074
00075 | 00070
00054
00031
00022
00065
00027
00063
00052
00084
00031
00025
00067
00078
00037
00035
00021
00051
00086
00030
00099
00074
00060
00070
00043
00021
00084
00025
00055
00055
Note on J1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Not sure if you can see this, but should Device EOL be a date? Would we be able to get that information easily in the site survey? Reply: These can just be made up, So of the equipment most ICS last 20 to 30 years. That is why it is easier to say Yes or No first and forces the customer to review every year. Which is a requirement. To physically lay eyes on it.